## Instructions - basic data
SAR measurement interlaboratory comparison test report
Keep in mind that it is critical to provide accurate answers, even if any errors have accidentally happened, as the participants will not be publicly identified by any means. Moreover, reporting any errors/artifacts detected and any corrective action taken is desirable, and will positively influence the study. Should you have any comment to make regarding the sample postage/delivery, storage or measurement, please encode it in the "Remarks and comments" section at the end of the form. Note that this section is not intended to make suggestions or give personal opinions; there will be a post-testing survey for the purpose.
INSTRUCTIONS - HINTS
Please follow the instructions given here to conduct the SAR measurements. If you are in doubt on how to proceed at some point or have any questions, please contact directly the experiment coordinators. Do not attempt to modify the present template unless for filling in the required data. Should you have any comments or remarks to make, please do so in the "Remarks & comments" tab.
Cells to be filled by the measurers are highlighted in grey (and also in light blue in the case of the tab "Equipment") with a dotted border.
ADIABATIC VS NON-ADIABATIC SETUPS. It is important to understand the kind of setup you use; accordingly, we here provide the definitions of the two types considered for this particular interlaboratory test. In simple terms, an adiabatic setup is that where there is no heat exchange with the environment (conduction, convection, radiation); this typically requires, among others, an "active" insulation jacket kept automatically to a certain temperature (that of the sample in strict adiabatic conditions, or a constant temperature in the case of semi-adiabatic or isoperibol calorimeters, where heat exchange corrections must be made). A non-adiabatic setup is any other where the former conditions (even just one) are not met.
1 | Regardless the previous storage history, let the vial/s with the sample to equilibrate at room temperature for at least 2 hours before starting the experiment. Note that two vials of the same sample can be mixed up if required for any reason. Vials of different samples cannot be mixed up under any circumstances. Sonication or vortexing of the samples are allowed for homogeneisation purposes, but only for periods of up to 5 minutes. If done, allow at least an additional 30 minutes for thermal equilibration of the sonicated/vortexed samples at room temperature.
2 | The empty vial supplied can be placed directly into the instrument to make the measurements if the clearance of the coil permits. Transfer 1ml of the sample without diluting to the empty vial supplied using appropriate means (pipette/micropipette). The supplied vials should be used for the measurements unless your instrumental setup works only with either higher or lower sample volumes than the proposed one; in that case, take the required sample volume and report it in the relevant section "Volume used (ml)" of tabs "Sample#X" and subsequent ones. IMPORTANT: regardless the sample container, it is mandatory to measure and then note down the actual sample volume used in the C8 cell of the relevant tab of this file.
3 | Always keep track of room temperature!
4 | Positioning of the temperature probe: please centre the temperature probe as much as possible in the solution. In any case, totally immerse it into the sample (for both zero-conductivity water blank sample or the ferrofluids) and double check that it is not touching the walls of the container (whether using the supplied vials or your own containers)
5 | Perform the following procedure with the zero-conductivity sample provided. Start the experiment by recording the temperature evolution from the initial point t0 during 200 seconds to an stable temperature T1 (see Scheme 1 below), then apply the field using a frequency of 300 kHz and the corresponding field intensity (peak, not rms) of 15 kA/m [If you cannot meet the latter conditions please use the closest possible, whichever, and report them in the corresponding cells in tabs "Sample#1" and subsequent ones] and continue recording T vs t under the applied field for 300 seconds, reaching the point t2. After this time, remove the field and let the system cool down on its own down back to T1 for X1 s (it does not matter the time that it takes) while still acquiring the temperature evolution. Once T1 is reached again (point t3), keep acquiring the temperature evolution for X2 s (no less than 30 s) and stop the experiment. The whole procedure is graphically summarised in Scheme 1 at the bottom of this page. In order to ensure a better comparison between the different laboratories, we encourage you to use a time resolution of 1 second, i.e. acquire 1 data point per second. If your system does not allow you to change it, please do the corresponding averaging of the raw data prior to paste it into the relevant "EXPERIMENTAL SECTION (II)" so that the aforementioned time resolution is matched.
6 | Repeat the procedure above three times to obtain three temperature vs time curves and three SAR values for ach sample. Copy and paste the experimental temperature and time data in the section "EXPERIMENTAL DATA (II)" of tabs "Sample#4" and "Sample#6". Besides, encode the three SAR values of each sample in the corresponding cells in tabs "Sample#4" and "Sample#6" as the value of the slope of the temperature vs time curve. Use your own criteria/method to work out the slope of the curve (initial slope method, corrected slope method, Box-Lucas, etc.), but do not fit the curve starting from t0 in any case!!! Finally, use the concentration values provided in the corresponding tab for each sample.
7 | Repeat exactly the same procedure described in point 5, this time for the ferrofluid samples to be tested (whichever corresponds - #1, #2, #3, #4, etc.).
8 | Graphs are automatically generated from the experimental data inserted in the relevant sections, so please do not attempt to modify them. Remember that graphs in Excel can only accommodate up to 30000 data points; if exceeded, your data will be just partially displayed in the corresponding charts.
9 | Make sure that all the sections through the tabs of this spreadsheet have been completed and email this file to Simo Spassov (simo@meteo.be) at your earliest convenience, preferably before the 23rd of April (23:59 CET).
Regarding the AC field, if your setup allows you to do so, choose "peak" instead of the "rms" signal.
Whether or not you are aware of other participants of this experiment, do not contact them regarding the results. Any enquiries about the whole test should be directed to Daniel Ortega (daniel.ortega@imdea.org) and Simo Spassov (simo@meteo.be).
Temperature
Time (s)
200 s
300 s
X1 s
X2 s
T1
Scheme 1
t0
t1
t2
t3
Meas. #1
Meas. #2
Meas. #3

## QUICK STEP BY STEP INSTRUCTIONS
QUICK STEP BY STEP INSTRUCTIONS
IMPORTANT: before proceeding with the following instructions you should have read carefully the previous tab "Instructions - basic data"; if not, please do so.
1 | Sonication or vortex (5 mins. max.; not needed in the case of the water sample). Allow for thermal equilibration (30 minutes).
2 | Transfer 1ml of the sample without diluting to the empty vial supplied using appropriate means (pipette/micropipette).
3 | Position the temperature probe at the centre of the solution.
4 | Using a resolution of 1 second, measure zero-conductivity water: record T vs t for 200 seconds after thermal equilibration, apply a 15 kA/m field at 300 kHz, record T vs t for 300 s, cool down back to the equilibrium temperature and keep measuring for at least 30 seconds.
5 | Repeat the same procedure in point 4 with samples #4, #6 and #8.
6 | Send data to simo@meteo.be before the 30th of June (23:59 CET)

## Equipment
SAR measuring equipment
Click on the grey cells to expand the dropdown lists below. Choose the option and describe (light blue cells) as appropriate. Write N.A. for those options that do not apply.
Core method for T(t) measurements
Nature of the equipment
In the case of the two first options, please briefly indicate brand, model, and the customisation details:
Sample holder - material
If other, please specify:
Sample holder - thermal insulation
Please describe the means implemented in the measurement system to thermally insulate the sample (vacuum, etc.):
Means of producing magnetic field
Indicate the commercial system used; if a non-comercial one has been used, please give details on (alternatively, you can provide a picture):
Number of turns
Diameter/s
Distance between turns
Number of layers
Distance between layers
Depth
Inductance (if known)
Thermal insulation between the magnetic field source and the sample
Please describe the means implemented in the measurement system to thermally insulate the sample from the magnetic field source:
Type of temperature sensor
If not part of a commercial system, please give details on the type of temperature sensor use to monitor the temperature during the measurements:
diameter
depth
Single layer configuration
Multi-layer configuration
layers
turns

## Water_sample
Water sample
Vial ID (barcode):
EXPERIMENTAL DATA (II)
Insert the experimental T vs t data. Please use as many rows as necessary (the data will be plotted in the following tab).
Time (s) | Temperature (ºC)
Vial ID (barcode):
Was the sample damaged upon receipt? Sedimentation/precipitation has occurred to some extent? Any other noticeable observations? (Y/N):
Please describe if applies
Volume used (ml):
Have you used a regularly calibrated pipette? Y/N:
|  | Corrected volume | 0
|  | Concentration (mg Fe/ml) | N/A
Storage method
Temperature control? (Y/N):
Exposed to ambient light? (Y/N):
Other:
Storage temperature (ºC):
Sample pre-treatment
Ultrasounds (Y/N):
If yes, specify power, treatment time and temperature
If other treatment, please provide details
(1) If the sample temperature has been controlled by any means (fridge, freezer, etc.) during storage, please indicate the temperature. If any (either controlled or uncontrolled) temperature change has happened during storage, please describe it in the "Remarks and comments" section at the end of the form.
(2) Each sample should be measured triplicate, but continuously during a single experiment as shown in Scheme 1 in the Introduction tab.
NOTES:
- Any comments regarding this section should be encoded in the final "Remarks&Comments" tab.
- Make sure that all the numerical values are given in the units specified at the column headings.

## Sample#4
Sample#4
Vial ID (barcode):
EXPERIMENTAL DATA (II)
Insert the experimental T vs t data. Please use as many rows as necessary (the data will be plotted in the following tab).
Time (s) | Temperature (ºC)
Vial ID (barcode):
Was the sample damaged upon receipt? Sedimentation/precipitation has occurred to some extent? Any other noticeable observations? (Y/N):
Please describe if applies
Volume used (ml):
Have you used a regularly calibrated pipette? Y/N:
|  | Corrected volume | 0
|  | Concentration (mg Fe/ml) | N/A
Storage method
Temperature control? (Y/N):
Exposed to ambient light? (Y/N):
Other:
Storage temperature (ºC):
Sample pre-treatment
Ultrasounds (Y/N):
If yes, specify power, treatment time and temperature
If other treatment, please provide details
(1) If the sample temperature has been controlled by any means (fridge, freezer, etc.) during storage, please indicate the temperature. If any (either controlled or uncontrolled) temperature change has happened during storage, please describe it in the "Remarks and comments" section at the end of the form.
(2) Each sample should be measured triplicate, but continuously during a single experiment as shown in Scheme 1 in the Introduction tab.
NOTES:
- Any comments regarding this section should be encoded in the final "Remarks&Comments" tab.
- Make sure that all the numerical values are given in the units specified at the column headings.

## Sample#6
Sample#6
Vial ID (barcode):
EXPERIMENTAL DATA (II)
Insert the experimental T vs t data. Please use as many rows as necessary (the data will be plotted in the following tab).
Time (s) | Temperature (ºC)
Vial ID (barcode):
Was the sample damaged upon receipt? Sedimentation/precipitation has occurred to some extent? Any other noticeable observations? (Y/N):
Please describe if applies
Volume used (ml):
Have you used a regularly calibrated pipette? Y/N:
|  | Corrected volume | 0
|  | Concentration (mg Fe/ml) | N/A
Storage method
Temperature control? (Y/N):
Exposed to ambient light? (Y/N):
Other:
Storage temperature (ºC):
Sample pre-treatment
Ultrasounds (Y/N):
If yes, specify power, treatment time and temperature
If other treatment, please provide details
(1) If the sample temperature has been controlled by any means (fridge, freezer, etc.) during storage, please indicate the temperature. If any (either controlled or uncontrolled) temperature change has happened during storage, please describe it in the "Remarks and comments" section at the end of the form.
(2) Each sample should be measured triplicate, but continuously during a single experiment as shown in Scheme 1 in the Introduction tab.
NOTES:
- Any comments regarding this section should be encoded in the final "Remarks&Comments" tab.
- Make sure that all the numerical values are given in the units specified at the column headings.

## Sample#8
Sample#6
Vial ID (barcode):
EXPERIMENTAL DATA (II)
Insert the experimental T vs t data. Please use as many rows as necessary (the data will be plotted in the following tab).
Time (s) | Temperature (ºC)
Vial ID (barcode):
Was the sample damaged upon receipt? Sedimentation/precipitation has occurred to some extent? Any other noticeable observations? (Y/N):
Please describe if applies
Volume used (ml):
Have you used a regularly calibrated pipette? Y/N:
|  | Corrected volume | 0
|  | Concentration (mg Fe/ml) | N/A
Storage method
Temperature control? (Y/N):
Exposed to ambient light? (Y/N):
Other:
Storage temperature (ºC):
Sample pre-treatment
Ultrasounds (Y/N):
If yes, specify power, treatment time and temperature
If other treatment, please provide details
(1) If the sample temperature has been controlled by any means (fridge, freezer, etc.) during storage, please indicate the temperature. If any (either controlled or uncontrolled) temperature change has happened during storage, please describe it in the "Remarks and comments" section at the end of the form.
(2) Each sample should be measured triplicate, but continuously during a single experiment as shown in Scheme 1 in the Introduction tab.
NOTES:
- Any comments regarding this section should be encoded in the final "Remarks&Comments" tab.
- Make sure that all the numerical values are given in the units specified at the column headings.

## Remarks&comments
Remarks and comments
Please make use of this tab to make any comments or clarifications regarding the experiments.Use as much space as needed.

## DO NOT EDIT!!! (hidden)
Temperature vs. time for: Water sample ()
Adiabatic | Temperature vs. time for: Sample#4 ()
Non-adiabatic | Temperature vs. time for: Sample#6 ()
#REF!
Commercial | #REF!
Commercial but customised | #REF!
Totally custom-made (i.e. home-made) | #REF!
#REF!
Plastic
Glass
Quartz
Other (please specify in the cell below)
Yes
No
Open coil or similar
Ferrite core or similar
Other
Optic fiber (please specify type in the "Remarks and comments section")
Thermocouple (please specify type in the "Remarks and comments section")
Infrared (IR camera, pyrometer, etc)
Other

## Corrections_log
History of amendments to the template
March, 2016
1- | Cell I13's formula now points to the right range of cells containing the ILP values instead of the SAR ones in tabs "Sample#1" and "Sample#2".
2- | The average curve in the graph in tab "Tvs.t#1" is now linked to the right data series from the corresponding data tab "Sample#1".
3- | The content of cell B in "Instructions - basic data" tab has been removed as the date is already asked in tabs "Sample#1" and "Sample#2".
April & May 2016
4- | Tab "Instructions - basic data": hints on the temperature probe positioning are now provided.
5- | Tab "Instructions - basic data": differences between adiabatic and non-adiabatic setups for SAR measurements are now explained.
6- | Tab "Instructions - basic data": experimental times (points t0, t1 and t2) have been modified, and so the Scheme 1.
7- | Tab "Instructions - basic data": experimental procedure for the (problem) ferrofluids has been rewritten, including now the measurements of the blank sample of zero-conductivity water.
8- | New tabs for samples #3, #4, #5, #6 and #7 are now available
9- | New tabs for Tvs.t#3, Tvs.t#4, Tvs.t#5, Tvs.t#6 and Tvs.t#7 (corresponding to samples#3, #4, #5, #6 and #7) are now available.
10- | Some typographic errors have been corrected.
11- | Instructions regarding time resolution of the measurements have been added to the "Instructions - basic data" section.
March 2017
12- | A "QUICK STEP BY STEP INSTRUCTIONS" tab has been included after the introductory one. This quick guide is just to serve as a quick reference while doing the measurements. IT DOES NOT SUBSTITUTE THE INTRODUCTION TAB!
13- | Scheme 1 in the "Instructions - basic data" tab has been modified to show the whole measurement procedure as it should happen.
14- | The "Means of producing magnetic field" subsection in the "Equipment" section has been changed. There are more questions about the coil for producing the field. An explanatory scheme with indication of the coil parameters is now available.
15- | The "Ambient temperature" subsection has been removed.
16- | Data tabs are now much simpler. Average values and statistics have been removed. All the data from the three measurements (as they are now experimentally carried out continuously in a single session) may be now directly pasted to the corresponding two columns in tabs "Water_sample", "Sample#4" and "Sample#6".
17- | Graphs have been now integrated into the corresponding data tabs.